Stoichiometry

Growth Reference System (GRS)

- It chooses a different reference for all thermodynamic data. Whereas the conventional thermodynamic system is defined in such a way that the Gibbs energy of formation is zero for the elements in their most stable state : H2(g), O2(g), N2(g), C(s) at standard conditions: 1 bar, 298.15 K, 1 mol/L, pH 0)

- The GRS is defined in such a way that the Gibbs energy is zero for the end products typically occurring in microbial systems HCO3-(aq), SO42-(aq), NO3-(aq), H2O, H+(aq) at biochemical standard conditions :1 atm, 298.15 K, 1 mol/L, pH 7).

- The GRS defines three simple numbers for each chemical compound: degree of reduction (γ), Gibbs energy per electron and enthalpy per electron. These numbers further simplify calculations.

Degree of reduction

- Can be calculated using the table below. For example the degree of reduction of reduction of HCO3- = 1+4+(-2)*3+1= 0

- The degree of reduction is zero for the following typical end products in microbial systems: (HCO3-), (SO42-), (NO3-), (H2O), and (H+). These compounds are also referred to as the reference compounds.

- The value of the degree of reduction is equal to the electron content of a specific compound. The number of electrons an electron donor can donate or an electron acceptor can accept per mole of compound in order to be completely oxidized or reduced to reference compounds. It is thus the oxidation state of these atoms in the reference compounds.

- One additional advantage of the definition of the degree of reduction of compounds in the GRS is that it simplifies the calculation of reaction stoichiometry. The reason for this is that the degree of reduction is equivalent to the electron content of a specific compound. Moreover, in most half reactions there are only few compounds that have a degree of reduction other than zero. Therefore, an electron balance can be quickly made.

- The following steps are used for balancing :

- Electron balance

- Carbon/nitrogen/sulfur/phosphorus balance

- Oxygen balance by H2O

- Hydrogen balance by protons

- Charge balance as final check

Questions

- Balance the half reaction for acetate oxidation to bicarbonate.

Answer :

- Calculate the degree of reduction of acetate and is 8 electrons

- one can instantly derive that the amount of electrons generated in the anode reaction is eight:  C2H3O2- → 8 e-

- Then by sequentially solving carbon balance using bicarbonate:

- C2H3O2- → 2 HCO3- + 8 e-

- the oxygen balance using water : C2H3O2- + 4 H2O → 2 HCO3- + 8 e-

- the hydrogen balance using protons: C2H3O2- + 4 H2O → 2 HCO3- +9 H+ + 8 e-

- One can quickly derive the complete stoichiometry of a half reaction. As a final check, one can then verify that the charge is equal on both sides of the equation.

- Balance the reaction for the reaction stoichiometry of a reactor operated on acetate at biochemical standard conditions and gives the bicarbonate. Determine also the COD for this reaction.

Answer

- The oxidation is by oxygen at biochemical standard condition

- The acetate has 8 electrons and oxygen has 4 electrons, one can instantly derive that acetate and oxygen react in a 1:2 ratio: C2H3O2- + 2 O2 →

- solving carbon balance using bicarbonate: C2H3O2- + 2 O2 → 2 HCO3-

- the oxygen balance using water: C2H3O2- + 2 O2 → 2 HCO3- (no water involved, oxygen are balanced)

- and the hydrogen balance using protons: C2H3O2- + 2 O2 → 2 HCO3- + H+

- 1 mol of acetate requires 2 moles of oxygen. Multiplied by the molecular weight of oxygen gas this gives 2*32=64 g COD

- Balance the nitrification half-reactions and the total reaction by following the rules above

Answer by using the half reactions:

- Oxidation reaction

- Nitrification is the conversion of NH4+  to NO3-

- By calculating electrons, ammonium is 8 es and nitrate is 0 electrons

- Balancing electrons : NH4+          NO3- + 8 e

- Balancing nitrogen: NH4+          NO3- + 8 e

- Balancing oxygen by water:  NH4+ +3H2O            NO3- + 8 e

- Balancing hydrogen by protons : NH4+ +3H2O            NO3- + 8 e +10H+

- Reduction reaction

- Oxygen is converted to water

- By calculating electrons, the oxygen has -4 and the water has o electrons

- Balancing electrons: O2+4e            H2O

- Balancing oxygen: O2+4e            2H2O

- Balancing hydrogen by protons:  O2+4e +4H+           2H2O

- Complete reaction by combining the oxidation and reduction and balance charges

NH4+ +3H2O            NO3- + 8 e +10H+    x1

O2+4e +4H+           2H2O                           x2

NH4+ + 2O2+H2O           NO3- + H2O + 2H+

Answer by using the complete reactions:

- The ammonium react with oxygen to give nitrate

- Calculate electrons in ammonium and you get 8, calculate electrons for oxygen and you get 4. The ammonium react with oxygen in a ratio of 1:2

- NH4+  + 2O2         NO3-

- Balance nitrogen : NH4+  + 2O2         NO3-

- Balance the oxygen by water: NH4+ + 2O2          NO3- + H2O

- Balance hydrogen by protons: NH4+ + 2O2           NO3- + H2O +2H+

- Calculate the COD of acetate, ethanol and glucose

- From the balanced reaction of acetate, C2H3O2- + 2 O2 → 2 HCO3- + H+; 1 mol of acetate requires 2 moles of oxygen. Multiplied by the molecular weight of oxygen gas this gives 2*32=64 g COD; 64g COD/ mole acetate. 64g COD/ 59g of acetate = 1.08 g COD/g acetate

- Glucose has 24 electrons and oxygen has 4 electrons, glucose and oxygen react in a ratio of 1:6

- Balance electrons : C6H12O6 +6O2          HCO3- + 24 e

- Balance carbon: C6H12O6 +6O2          6HCO3- + 24 e

- Balance oxygen :  C6H12O6+6O2         6HCO3- + 24 e

- Balancing hydrogen: C6H12O6 +6O2           6HCO3- + 12 e + 6	H+

- From the balance reaction, 6 mole of oxygen are required per one mole of glucose. 6*32 = 192g COD/ 180g glucose=1.06g COD/ g glucose.

- Ethanol has 12 electrons and oxygen has 4 electrons, ethanol and oxygen react in a ratio of : 1:3

- Balance electrons : ethanol +3O2          HCO3- + 12 e

- Balance carbon: CH3CH2OH +3O2         2HCO3- + 12 e

- Balance oxygen : CH3CH2OH +3O2         2HCO3- + 12 e + H2O

- Balancing hydrogen: CH3CH2OH +3O2          2HCO3- + 12 e + H2O+ 2H+

- From the balance reaction, 3 moles of oxygen are required per one mole of ethanol. 3*32 = 96g COD/ 46g ethanol=2.08g COD/ g ethanol.

Gibbs energy per electron

- Gibbs energy (ΔG) is a thermodynamic property that represents the maximum amount of useful work that can be produced from a specific chemical reaction or the minimum amount of work that needs to be delivered to make a specific chemical reaction happen.

- If Gibbs energy change of a reaction is negative, work can be produced from the system and the reaction is referred to as exergonic. If the Gibbs energy change of a reaction is positive, work needs to be delivered to the system and the reaction is referred to as endergonic.

- The GRS also defines a Gibbs energy value per electron for each specific compound.

- This new value is easily calculated from Gibbs energy of formation data in conventional thermodynamic tables in two simple steps. First, a reference half reaction is written out, which is the production reaction of a specific compound from reference compounds: HCO3-(aq), SO42-(aq), NO3- (aq), H2O, H+(aq) and electrons. An example is the formation of acetate from the reference comound( HCO3-): 2 HCO3- + 9 H+ + 8 e- → C2H3O2- + 4 H2O

- Secondly, using the conventional thermodynamic tables, the Gibbs energy change of this specific reference reaction is calculated at biochemical standard conditions and subsequently divided by the amount of electrons (the degree of reduction γ) involved in the reaction:

- The Gibbs energy change value per electron present in a specific compound at biochemical standard conditions and is the Gibbs energy change of the reference reaction of this specific compound at biochemical standard conditions. Calculating for acetate below by using the table of the Gibbs energy change of the formation:

Simplifying thermodynamically calculations

- The table below is used

- The Gibbs energy change of a (half) reactions can be easily converted into cell voltage and potentials using the following equation:

- In which E is the electrode potential resulting from a certain (half) reaction, is Gibbs energy change of that specific (half) reaction, n the amount of electrons involved in the specific (half) reaction, and F Faraday’s number (96485.3 C/mol).

- At first glance, the GRS might appear to be a highly elaborate recalculation of already existing data. However, when using the system, it quickly becomes clear that it can drastically simplify thermodynamic calculations in microbial systems. Electrode potential and cell voltages are calculated from the Gibbs energy change of a reaction which can be calculated from the tabulated data in the GRS according to :

- With νx is the stoichiometric reaction coefficient of compound x involved in the reaction (positive for products and negative for reactants).

- The most important advantage of using the GRS is that most of the compounds involved in the bioelectrochemical reaction are reference compounds, such as HCO3-(aq), SO42-(aq), NO3-(aq), H2O, and H+(aq), which can be eliminated from the calculations, as the value of γ and  ΔG0  for these compounds is zero per definition.

- For instance, the reaction equation of an MFC operated on acetate only contains two compounds that are not reference compound (i.e., acetate and oxygen).

- Therefore, the theoretical cell voltage of this complete reaction at biochemical standard conditions can be easily calculated according :

- This advantage is even more evident when calculating the equilibrium potentials of half reactions, as many half reactions only have one compound that is not a reference compound.

- Equilibrium potentials for half reactions involving a certain electron acceptor/electron donor couple are calculated from the reduction reaction, i.e., the electron consuming reaction with the electron acceptor in the left side of the equation and the electron donor in the right side of the equation (e.g., Eq. for acetate).

- Similar to above, the equilibrium potential of the half reaction for acetate oxidation to bicarbonate is then calculated according :

- You do  the same for the half reaction of oxygen that gives water

- Calculate the Ecell= E0 cathode-Eo anode.

- if the half reaction only contains one compound that is not a reference compound, the equilibrium potential of the half reaction can just simply be calculated from the Gibbs energy value per electron according to:

- Equilibrium potentials of half reactions can conveniently be used for calculating the theoretical cell voltage by subtracting the equilibrium potential of the anode reaction from that of the cathode reaction. E.g., for an MFC operated on acetate: Eocell=Eo cathode-Eoanode= 0.815-(-0.278)=1.09 V

Concentration effects

- The thermodynamic data of the GRS and thus the numbers in Table bove, are reported at biochemical standard conditions, which are defined as 1 atm, 298.15 K, 1 mol/L, and pH 7.

- a real system is not always operating at biochemical standard conditions. Therefore, the Gibbs energy change and equilibrium potential typically need to be corrected for the effect of partial pressure, temperature, concentration, and pH. For the half reaction:

- in which compound A, B, and protons are converted into compound C and D, consuming n electrons and with νi being the reaction coefficient of the specific reactants, protons, and products, the Gibbs energy change of the half reaction can be corrected for the effect of the pressure, temperature, concentration, and pH using the following equation:

- The last term in is a consequence of the chosen reference of pH 7 in the GRS. Π is defined as:

- With ai the activity of a specific compound and i as the concentration (in mol/l) or partial pressures in atmosphere of a specific compound (i).

- In dilute systems, which are typically the case in microbial systems, calculations can be conveniently simplified by estimating the activities as concentrations.

- the equilibrium potential of the half reaction can be corrected for the effect of the pressure, temperature, concentration, and pH using the following equation:

- Due to the exponential nature of the pH scale, the pH value can have a very strong effect on the equilibrium potential, which is demonstrated in below for half reactions that involve as many protons involved in the reaction as electrons (νH=n).

- The equilibrium potential decreases with increasing pH and shifts by about 0.059 V per pH unit or more generally, the equilibrium potential of half reaction decreases per PH unit  increase by about:

- At a temperature of 298.15 K, this means that the equilibrium potential decreases by about times νH/n*(0.082036*298.15)/96.485= νH/n*0.059 V per pH unit increase and increases by about times 0.059 V per pH unit decrease.

- The concentrations and partial pressure can have a significant effect on the equilibrium potential as shown by the figure below :

- In general, per 10 fold increase of reactants concentration of A and B, the equilibrium potential of half reaction increase by about:

- per 10 fold increase of products concentration C or D, the equilibrium potential of half reaction decrease by about:

- At a temperature of 298.15 K, this means that the equilibrium potential increases by about νi/n*0.059 V per 10 fold increase of reactants A or B and decreases by about νi/n*0.059 V per 10 fold increase of products C or D.

- The extent of this concentration effect on the equilibrium potential highly depends on the type of reactant/products involved in the reaction.

- Figure(A)  above shows that at constant pH the effect of concentration on the equilibrium potential of acetate oxidation is relatively low in the typical concentration range occurring in microbial systems (10-3-101 M).

- The reason for this is that most electron donors have a high degree of reduction (n is high, so νi/n is low), for acetate νi/n equals to 1/8 and hence the equilibrium potential only decreases by about 1/8*0.059=0.0074 V per 10 fold increase of the acetate concentration (at a temperature of 298.15 K).

- For hydrogen, however, a more significant shift in equilibrium potential can be observed. One of reasons for this is that it only has a degree of reduction of 2 (n is low, so νi/n is high=1/2) and hence the shift in equilibrium potential is about ½*0.059=0.03 V per 10 fold change in partial pressure (at a temperature of 298.15 K).

- In addition, hydrogen is known for its wide partial pressure range in microbial systems (10-7-103 atm), which can cause a large shift in equilibrium potential. The latter is also of particular importance when discussing whether hydrogen is a possible intermediate in microbial catalyzed cathode reactions.

- As can be seen from Figure B, hydrogen can already start evolving from about -0.33 V at pH 7 if the hydrogen partial pressure is kept below 10-3 atm, which is indeed a typical hydrogen partial pressure that can be observed in syntrophic methanogenic populations.

- Hence, a potential above -0.41 V or a hydrogen concentration below the detection limit of a standard gas chromatograph, is not necessarily proof that hydrogen is not an intermediate.

- An important note of caution with the above calculations is that they do not take acid-base speciation into account. The thermodynamic effects of acid-base speciation are generally very small, but can be of importance in some biological systems where thermodynamic gains are small, such as in syntrophic methanogenic populations or the alcohol production through the reduction of volatile fatty acids with hydrogen as the electron donor.

- The reaction HCOOH           H2 + CO2 is thermodynamically unfavorable. Prove this by calculating the ΔGr. However, it is possible to microbial produce hydrogen from formate if hydrogen is consumed by another species, i.e. the methanogens: 4H2 + CO2          CH4 + 2H2O. Calculate the new ΔGr assuming that the methanogens keep the concentration of H2 at 10-5 atm. The reaction occurs at pH 7 and temperature 25°C.

Answer

Stoichiometry in conventional wastewater treatment

Organic matter removal under aerobic condition

- Organic matter in domestic wastewater can on average chemically be represented by the molecule C10H19O3N. In order to simplify, we use glucose as the model compound of organic waste.

- Removal under aerobic conditions: Glucose is used as the electron donor, oxygen as the electron acceptor. Using the data in table above, we can balance the half reactions and calculate the overall Gibbs free energy as follows: glucose from table 3 and oxygen data from table 5. We need to balance electrons and we have to multiply the oxygen equation by 6

- This reaction has a highly negative Gibbs free energy, implicating that this reaction is thermodynamically feasible for bacteria to perform.

- Organic matter Removal under anoxic/anaerobic conditions:

- Whenever O2 is present; bacteria will always consume O2 as the electron acceptor. However, this requires aeration of the system, which will imply a cost.

- When O2 is not present, bacteria will look for alternative electron acceptors, such as NO3-, SO42- or HCO3-. Reactions involving nitrate or sulfate reduction are discussed further, as they are essential steps in the removal of nutrients.

- When HCO3- is used as electron acceptor, this reaction yields methane, a possible energy source. However, it is difficult to perform this reaction at atmospheric temperatures.

- The Gibbs free energy of this reaction is less negative than the reaction with oxygen, implicating a less spontaneous process. Whenever oxygen is present, bacteria will use it as electron acceptor, since it is thermodynamically more favorable.

Nitrogen removal

- In most conventional biological wastewater treatment systems, N is removed by the combination of aerobic nitrification and anoxic denitrification.

- Nitrification: The nitrification reaction uses ammonium as the electron donor and oxygen as the electron acceptor. Note that this process is performed by 2 distinct types of bacteria: ammonia oxidizing species (AOB) oxidize ammonia to nitrite (NO2-), and nitrite oxidizing bacteria (NOB) oxidize nitrite to nitrate (NO3-).

- Denitrification: Through denitrification, nitrite and nitrate are removed from the system as the gaseous N2. For this process, an electron donor is required. Preferably, this e- donor is present in the wastewater as residual COD. In some cases however, it needs to be added externally.

- Calculate how much glucose is needed per gram of nitrate-N removed. Also calculate how much methanol would be needed as carbon source (instead of glucose; methanol is converted to HCO3-). Calculate the cost of the addition of both carbon sources (methanol € 0.35/kg; glucose € 0.3/kg)?

Answer

- 5moles of glucose are required for 24 moles nitrate which means 5/24=0.2083 mole of glucose per one mole nitrate.

- 0.2083moles*180g/mole of glucose is required for 14g of nitrogen

- 37.5g of glucose/14g N=2.68g of glucose /g Nitrogen-NO3 removed.

- The reaction with methanol from table 3 is as follow:

Methanol+ 2H2O         HCO3-+7H+ + 6e      -216     X 5

NO3- +6H+ + 5e           0.5N2 + 3H2O           361      X 6

5methanol+6 NO3- + H+          HCO3- + 3N2 + 8 H2O

- From the reaction above, 5 mole of methanol are required for 6 mole of nitrate removed, 5/6 =0.83 mole of methanol are required for one mole Nitrogen. 0.83mole *32g/mole methanol/14 g of nitrogen; 1.9 g methanol/g N-NO3 removed.

- The cost for methanol is 0.35euro/kg,  we have  1.9g=0.0019kg the cost becomes 0.0019*0.35euro=0.000665euro/g N-NO3 = 0.67 euro/kg

- Cost for glucose=2.68g=0.00268kg*0.3=0.000804euro/g=0.8euro/kg

- Methanol is cheaper than glucose.

Sulfur removal

- Sulfate is the most abundant inorganic S- species in wastewater. It can be reduced to sulfide by a specific group of sulfate reducing bacteria (SRB). This is a very common reaction in sewer systems, which is to be avoided, since it causes severe corrosion of the sewer pipes. It uses COD, usually present in untreated sewage, as the electron donor.

Biomass production

- The balanced reactions described above only include catabolic processes, these are metabolic processes performed by microorganisms to gain energy.

- However, microbes will always consume part of the electron donor for biomass synthesis. Table below lists the fraction of the electron donor used for biomass formation (mol biomass/mol donor consumed). These values are given on a mole basis, not on a mass (or gram) basis.

- The anaerobic organic removal process leads to less biomass production than the aerobic organic removal process; less biomass is thus produced in the anaerobic process.

- As biomass (sludge) is a waste product of wastewater treatment with a concomitant treatment cost, this is a big advantage of the anaerobic process.

Lecturer 3: nutrients removal (N and P removal)

- A waste water treatment plant with pre-denitrification, and with a waste water flow of 1000m3/day and a influent COD of 2000mg/l. the effluent COD is 200mg/l. considering that the OC/load ration is 2 and that all biodegradable COD is removed by nitrification-denitrification processes.

- Calculate the aeration cost of nitrification if the influent ammonium is 200mg/l and aeration rate is 1.5kgO2/kWh and the cost of one kWh is 0.15 euro.

- Calculate the COD removed by denitrification

- calculate the overall aeration cost for bCOD removal

Answer

- calculation of nitrification aeration cost

- The Nav= NH4-N in influent as no organic nitrogen given, if the nitrogen organic is given we need to determine the biodegradable part of this organic nitrogen and do the sum.

- The Nav= 200mg/l=0.2g/l=0.2kg/m3.

- Considering that the given flow is  1000m3/day; the Nav becomes 0.2kg/m3*1000m3/day=200kg/day

- Nimm=COD*Fb*YCOD*0.05; Fb=BOD5/0.65*COD in case the BOD5 was given but in our case no BOD5 given

- Nimm= bCOD*YCOD*0.05.

- The bcod is equal to the influent COD – effluent COD the bCOD=2-0.2=1.8kg/m3= 1.8*1000=1800kgCOD/day

- Nimm=1.8*0.4*0.05= 0.036kg/m3

- Considering the flow of 1000m3/day; Nimm becomes 0.036kg/m3*1000m3/day=36kg/day

- No Neff, Neff=0

- NOD=4.33*(Nav-Nimm-Neff)=4.33(200kg/d-36kg/d)=710kgO2/day.

- OC/LOAD represents the kg oxygen to be dissolved in the mixed liquor for each kg of substrate administered to the bacteria to be removed. The given calculation the OC/load ration is 2. We need double of this oxygen, oxygen needed=710kg*2=1420kg/day

- 1.5kg O2 needs one kWh we have 1420/1.5=946kWh

- The aeration cost =946*0.15=142euro/day

- Calculation of the removed COD during denitrification

- The COD removed during denitrification is given by:

NOE*(Nav-Nimm-Neff),

- considering that; NOE=20/7 NO3-+12/7NO2-; we assume that only NO3- is in waste water

- COD removed by denitrification =20/7(200-36-0)=468.57 kg N/d ; this calculation is assuming 100% removal, if not the case you have to multiply this results with the % efficiency.

- Calculation of aeration cost for bCOD

- The bCOD is equal to the influent COD – effluent COD the bCOD=2-0.2=1.8kg/m3= 1.8*1000=1800kgCOD/day

- This removed bCOD is removed by aeration and is equal to the total minus the one removed by biomass and the one removed by denitrification.

- The bCOD removed by biomass is given by 1.33*biomass and the biomass is 0.4*bCOD; Bcod removed by biomass is equal to 1.33*0.4*1800=957.6kg/day

- bCOD removed=1800-957.6-469=373kgbCOD/day

- OC/LOAD represents the kg oxygen to be dissolved in the mixed liquor for each kg of substrate administered to the bacteria to be removed. In the given calculation the OC/load ration is 2. We need 2 kgO2/kg bCOD removed.

- The oxygen required to remove bCOD is  given by 2kg/kgbCOD*373kgbCOD/day= 746kgO2/day

- Kwh that is required for this aeration process is given by : 746kgO2/day/1.5kgO2/kwh=497kwh/day

- cost of this aeration= 497*0.15euro=74.6euro/day

- the total plant cost = 142+74.6=216.6euro/day

- a treatment plant which operate with SBR configuration with a post denitrification and is  receiving the influent COD of 500mg/l; the BOD5 is 0mg/l; influent ammonium is 1000mg/l; and the flow is 1000m3/day

- calculate how many times one have to recycle for a N/DN efficiency of 89%

- Calculate the aeration cost for nitrification assuming aeration rate is 1.5kgO2/kWh and the cost of one kWh is 0.15 euro.

- If methanol was added to allow denitrification and the cost of methanol is 0.34 euro/kg. calculate the cost of methanol based on the stoichiometry

- Calculate the methanol cost based on the GRS system.

- Calculate the cost of the OLAND process, if the process is running based on OLAND SBR

Answer

- calculation of the recycle ratio

- E=1-1/1+R; for a recycle of 1 we have E=50%; for R=2 we have the R=1-1/3=70%; R=3; E=75%; R=8; E=89%. We need to recycle 8 times.

- calculation of nitrification aeration cost

- The Nav= 1000mg/l=1g/l=1kg/m3.

- Considering that the given flow is  1000m3/day; the Nav becomes 1kg/m3*1000m3/day=1000kgN/day

- Nimm=COD*Fb*YCOD*0.05; Fb=BOD5/0.65*COD  and BOD5 is zero

- Nimm=0, no heterotrophic biomass

- No Neff, Neff=0

- NOD=4.33*(Nav-Nimm-Neff)= 4.33(1000kg/d)=4330kgO2/day.

- OC/load ration is 2. We need double of this oxygen, oxygen needed=43330kg*2=8660kg/day

- 1.5kg O2 needs one kWh we have 8660/1.5=5773kWh

- The aeration cost =5773*0.15=866euro/day

- Calculation of the cost of methanol by stoichiometry

- Methanol will act as the electron donor during the denitrification

- With the efficiency of 89%, the NO3- that need to be  removed by using methanol as electron donor is 1000mg/l*89/100=890mg/LNO3-N

- 890mg/LNO3-N= 0.89g/l=0.89/14=0.06357 moles of N removed

- The number of mole of N removed is proportional to the number of mole of methanol

- The moles of methanol= 0.06357 moles = 0.06354mol*32g/mol=2.034g of methanol/l= 2.034kg/m3

- Considering the flow 1000m3/day; the quantity of methanol = 2.034kg*1000m3/day= 2034kg/day

- The cost of methanol= 2034kg/day*0.34euro/kg=691.56 euro/day

- The total cost N/DN=691.56+866=1557.56 euro.

- Cost of methanol by using GRS

- Amount of COD removed by denitrification =20/7*(Nav-Nimm-Neff)= 20/7(1000kg/d)*89/100=2543kgCOD/day

- Methanol : CH3OH: 4+3-2+1=6e/mol;6*8gCOD/e=48gCOD/32g/molmeOH

1.5gCOD/gMeOH

To obtain the quantity of methanol: 2543kgCOD/day/1.5gCOD/gMeOH

1695kg methanol/day.

- Cost of methanol = 1695kg*0.34=576 euro/day.

- Cost of OLAND process

- In the Oland system the NOD is calculated as : NOD=1.72(Nav-Nimm)

- NOD=1.72(1000kgN/d)=1720kgO2/d

- We need double of this as OC/load=2; oxygen needed= 1720*2=3440kgO2

- Energy required =3440kgO2/1.5kgO2/kwh=2293kwh/day

- Cost = 2293kwh/day*0.15euro=344 euro/day.

anaerobic phase:

- The water passes first through an anaerobic phase where the readily biodegradable COD (RBCOD) is rapidly fermented to short chain fatty acids (VFA) by means of facultative heterotrophs. No oxygen is used in this step.

- Subsequently in the anaerobic phase phosphate accumulating organisms come into action, under anaerobic conditions they take up these VFA and store them primarily as polyhydroxybutyrate (PHB), to do this they need energy which is glycogen and ATP from polyphosphate: the polyphosphate reserve is hydrolyses and transformed into ATP and phosphate is released into medium.

Aerobic phase:

- The polyphosphate organism exhibits aerobic metabolism and converts the stored carbon reserves into the biomass and ATP, the ATP produced is stored in the form of polyphosphate (PO4 +ATP) and glycogen. There is an uptake of phosphate from the medium.

- When all external carbon sources are consumed and the cell enter into a famine conditions, the bacteria containing PHB start to use this for their maintenance metabolism and they survive better than those not having the PHB

Net removal for anaerobic and aerobic phase

Anaerobic

- Assume that we have 1 g of biodegradable COD, of which 0.3 g are RBCOD and 0.7 g are slow biodegradable COD. In the RBCOD only 0.25 will be converted to VFA COD and the remaining 0.05 will be also the slow COD. In total we will be remaining with 0.25 VFA and 0.75 slow COD

- Suppose that this is supplied to the microbial biomass at a loading rate of 0.1g bCOD/g* X*d, means that 1g Bcod/10g X*d. in other words, 10 g biomass consume 1g bCOD.

- If in these 10 g biomass there is only 7.5 g of normal bacteria having 2% P  and 2.5g of polyphosphate bacteria having 24% P, it means 0.15 g+0.6 =0.750g P. the average biomass contains (0.75/10)*100=7.5% of P

- 0.75 g of phosphorus will be decreased by the excretion of phosphorus. The polyphosphate will consume 0.25 g of VFA and excrete 0.125 of phosphorus, which means only 0.6-0.125=0.475g of phosphorus will be remains in polyphosphate bacteria. After the take up of VFA the total phosphorus in the biomass will be 0.150 in normal bacteria+0.475 in polyphosphate bacteria which makes a total of 0.625g P.

- After the uptake of VFA, the remaining concentration in the solution will be 0.75g of the slow COD and 0.125 g of excreted phosphorus because the 0.25 VFA were transformed in the bacterial biomass

- The results of this anaerobic process are 0.625 g P in the biomass and 0.75 g of slow COD+0.125 g of P in the solution.

Aerobic

- The polyphosphate will convert the reserves of 0.25 stored to biomass and uptake phosphate to form new biomass; the yield is 0.4 which means 0.25*0.4= 0.1g of biomass will be formed. The total of 2.5g biomass of polyphosphate + 0.1 g of new polyphosphate biomass formed= 2.6 g of polyphosphate = (2.6*24)/100=0.624 g P

- The normal bacteria metabolize the remaining of 0.75 g of slow COD into new biomass and the new biomass formed = 0.75*0.4=0.3, the biomass for new bacteria becomes: 0.3+7.5=7.8g = (7.8*2)/100=0.156 g P

- Thus there is a total of (2.6+7.8) g of biomass containing (0.156+0.624)g of P= 10.4 g biomass containing 0.780g of phosphorus. The average biomass contains (0.78/10.7)*100= 7.5% P

- In the starting we had  0.15 g of phosphorus on normal bacteria and 0.6g in polyphosphate bacteria  =0.750g P and at the end we have 0.780g of P, means uptake of 0.03 g of phosphorus for 1 g of bCOD. This net uptake of phosphorus on a net basis is because the new cells take up phosphorus too and excess sludge is being removed.

- The bCOD/P ratio must optimally be 1/0.03=33 in case the RBCOD is about 1/3 of the bCOD. In practice a minimum of 25 mg/l of RBCOD is needed to induce excess P removal.

- provided proper conditions , P removal can be approximated as follows:

|  | Raw | Settled |
| --- | --- | --- |
| Influent COD | 600 | 360 |
| Influent TKN | 48 | 41 |
| Influent P | 10 | 8.5 |
| bCOD | 600*0.8 | 360*0.9= 324 |
| RBCOD |  | 324*1/3=108 |
| Sludge produced |  | 324*0.4=129 mg /l |
| Normal P immobilized |  | 129*0.02=2.5, Residual level of 7.5 mg/l |
| UCT P immobilized |  | 129*0.07=9 mg/l, residual level of 1 mg/l |

Nitrification oxygen demand

Nitrification

- The oxidation can be written as:

NH4+ +3/2O2            NO2-+2H++ H2O + 275 KJ

The oxidation number of ammonium is (-3) and the oxidation number of nitrite is (+3), which means                            6electrons liberated to reduce O2.

- NO2-+1/2O2            NO3- +75 KJ

Nitrite has the oxidation number of (+3) and the nitrate has the oxidation number of (+5) which means 2 electrons liberated.

The overall reaction :

NH4+ +3/2O2           NO2-+2H++ H2O + 275 KJ: Nitritation

NO2-+1/2O2            NO3- +75 KJ: nitratation

NH4+ +2O2            NO3-+2H++ H2O + 350 KJ

- The oxidation number of ammonium is -3 and the oxidation number of nitrate is +5, in total 8 electrons atom N are liberated or 8 electrons are accepted by oxygen. Or 2 mole of oxygen accept 8 electrons in nitrification.

- 2 moles of oxygen are required to oxidize one mole of ammonium and  2 moles of oxygen is 2mol*32g/mol and one mole of nitrogen is 1mol*14g/mol. 64g of oxygen are required for 14 g of Nitrogen. Which means 64g O2/14gN= 4.57mgO2/mgN. In practice it is less than this (4.33mgO2/mgN) because some ammonia is transformed into biomass.

- Note that all calculations should be based on Nitrogen and not ammonium or nitrate if you are given the amount of nitrogen in the form of ammonium, nitrate or ammonia; you have to change it into N-NH3 form. Suppose that you have 12.9 mg NH4+, this is equal to =(12.9*62)/18 = 44.3NO3-N = (12.9*14)/18=10 mgN-NH3=

- For a 1g NH4+, autotrophic bacteria transform 0.95g to nitrate and 0.05g to biomass.

- the NOD is the oxygen demand associated with the oxidation of ammonia to nitrate and is 4.57gO2 /g of N-NH3

- We need to determine then the g of N-NH3 to be nitrified and is = Nav-Nimmob-Neff.

- Thus the required to convert 1 g of ammonia to nitrate is  can written as NOD=4.33*(Nav-Nimmob-Neff) with Nav as the organic nitrogen plus NH4+ and Nimmob, the nitrogen converted to biomass

- Nimmob= COD*Fb*YCOD*0.05=COD*Fb*0.02 and Fb is calculated as Fb=BOD5/0.65*COD

Denitrifiction

- 5C6H1206+24NO3+24H+       12N2+30CO2+42H2O

-562.5 kj/mol N

5C6H12O6+30O2        30CO2+30H2O -480KJ/mol O2

- in denitrification the oxidation number of nitrogen in NO3- is +5 and the oxidation number of N2 is O which means 5 electrons atomN are consumed which corresponds to (4.57*5)/8= 2.86 mg O2 /mg NO3-N recovered . Therefore the denitrification allows at best 2.86/4.57= 62.5% recovery of the nitrification oxygen demand.

- 5C6H1206+24NO3+24H+ 12N2+30CO2+42H2O, according to this reaction 5*180*1.06=960g bCOD and corresponds with 24*14=336 g NO3-N.

- This available nitrate is sometimes expressed in Nitrogen oxygen equivalents (NOE) which is an equivalent mass of oxygen that would accept as many electrons as the amount of nitrate or nitrite during reduction to nitrogen.

- One moles of nitrate accept 5 electrons in the denitrification reaction and 2 moles of oxygen accept 8 electrons in the nitrification reaction. For the oxygen to accept the same electrons as nitrogen we need to multiply 5 and 4 and we see that 4 moles of nitrate accept as many as electrons as 5 moles of oxygen. If we consider nitrite, we see that 4 moles of nitrite accept as many electrons as 3 moles of oxygen.

- 4*14 g NO3-N is equivalent to 5*32 g O2, 56 g NO3-Nis equivalent to 160 gO2, 1 g NO3-N is equivalent to 160/56 g O2= 80/28= 20/7 gO2. A consumption of one gram NO3-N is equivalent to 20/7 NOE, A consumption of one gram NO2-N is equivalent to 12/7 NOE.

- NOE=20/7NO3-N+12/7 NO2-N= in the equations given above NOE= 20/7*24*14= 960g NOE or 30*32=960g O2.

Total oxygen demand

- For the waste water not reach in sulfur compounds TOC= COD+NOD-NOE with NOE; the oxygen recovered during denitrification

Process design for the nitrification-denitrification

Pre-denitrification

- In pre-denitrification systems, raw wastewater or primary effluent first passes through an anoxic denitrification zone and then proceeds to an aerobic combined nitrification/BOD removal zone.

- If the return sludge flow is equal to the waste water flow, the first stage of the reactor receives the equivalent of 50% of nitrified waste water.

- If the influent flow of sludge is Q in m3/h and is 1 and the recycling sludge flow is QR and is equal to Q, the recycling ratio is QR/Q= 1.

- After the recycling the influent flow will be 2 and the recycling ration will be 1 and the remaining sludge will be wasted. The efficiency in this case is 50%.

- If the recycle flow is 4 m3/h, the influent will be 5 and if the waste sludge will be 1, the efficiency is 4/5=80% and 20% of sludge are wasted, The efficiency = 1-1/(1+R)

= 1-1/ 1+4= 0.8

How to remove phosphorus

- in the forced chemical precipitation iron and alminium are dosed at a molar ration of 1-1.5 mol/mole P to be precipitated. This ratio can be decreased up to 0.2-0.4 mole/mole P in case the biological removal is combined with this chemical precipitation.

- In case the ratio of 1.5 mol Fe/mol P is used the FePO4 will be produced as sludge and the sludge production = (56*1.5+31+64)/31= 5 kg SS/ Kg P

Biological removal of phosphate

- Biological phosphorus removal is accomplished by the absorption of orthophosphates, polyphosphates and organic phosphorus in untreated wastewater into bacterial cell tissue and subsequently removing the cell tissue from the wastewater.

- Absorbing phosphorus into bacterial cell tissue is accomplished by subjecting the bacteria to alternating anaerobic and aerobic (or oxic) environments. In response to the alternating anaerobic and oxic environments, the bacteria absorb and store more phosphorus than they would under normal aerobic conditions.

- Anaerobic is a condition in which both dissolved oxygen and molecularly bound oxygen, such as in nitrate, is absent.

- Phosphorus-accumulating bacteria are heterotrophic, meaning they derive their carbon source from organic matter. They are also facultative, meaning they can survive in both aerobic and anaerobic environments.

- In order to survive in anaerobic environments, phosphorus-accumulating bacteria use stored polyphosphates as their energy source. During this survival process, stored polyphosphates are converted to and released as soluble phosphates.

- When these bacteria are subsequently subjected to aerobic conditions, they rapidly uptake soluble phosphates to replenish their phosphorus stores.

- The introduction of dissolved oxygen, or molecularly bound oxygen such as nitrate, into the anaerobic environment will inhibit the release, and subsequent uptake, of phosphorus.

- The process is called enhanced biological phosphate removal. The microorganisms are used to take up the phosphate from the water and to accumulate it in their cellular biomass.

- The process has 2 phases, the anaerobic phase and the aerobic phase.

Anaerobic phase:

- The water passes first through an anaerobic phase where the readily biodegradable COD (RBCOD) is rapidly fermented to short chain fatty acids (VFA) by means of facultative heterotrophs. No oxygen is used in this step.

- Subsequently in the anaerobic phase phosphate accumulating organisms come into action, under anaerobic conditions they take up these VFA and store them primarily as polyhydroxybutyrate (PHB), to do this they need energy which is glycogen and ATP from polyphosphate: the polyphosphate reserve is hydrolyses and transformed into ATP and phosphate is released into medium.

Aerobic phase:

- The polyphosphate organism exhibits aerobic metabolism and converts the stored carbon reserves into the biomass and ATP, the ATP produced is stored in the form of polyphosphate (PO4 +ATP) and glycogen. There is an uptake of phosphate from the medium.

- When all external carbon sources are consumed and the cell enter into a famine conditions, the bacteria containing PHB start to use this for their maintenance metabolism and they survive better than those not having the PHB

Net removal for anaerobic and aerobic phase

Anaerobic

- Assume that we have 1 g of biodegradable COD, of which 0.3 g are RBCOD and 0.7 g are slow biodegradable COD. In the RBCOD only 0.25 will be converted to VFA COD and the remaining 0.05 will be also the slow COD. In total we will be remaining with 0.25 VFA and 0.75 slow COD

- Suppose that this is supplied to the microbial biomass at a loading rate of 0.1g bCOD/g* X*d, means that 1g Bcod/10g X*d. in other words, 10 g biomass consume 1g bCOD.

- If in these 10 g biomass there is only 7.5 g of normal bacteria having 2% P  and 2.5g of polyphosphate bacteria having 24% P, it means 0.15 g+0.6 =0.750g P. the average biomass contains (0.75/10)*100=7.5% of P

- 0.75 g of phosphorus will be decreased by the excretion of phosphorus. The polyphosphate will consume 0.25 g of VFA and excrete 0.125 of phosphorus, which means only 0.6-0.125=0.475g of phosphorus will be remains in polyphosphate bacteria. After the take up of VFA the total phosphorus in the biomass will be 0.150 in normal bacteria+0.475 in polyphosphate bacteria which makes a total of 0.625g P.

- After the uptake of VFA, the remaining concentration in the solution will be 0.75g of the slow COD and 0.125 g of excreted phosphorus because the 0.25 VFA were transformed in the bacterial biomass

- The results of this anaerobic process are 0.625 g P in the biomass and 0.75 g of slow COD+0.125 g of P in the solution.

Aerobic

- The polyphosphate will convert the reserves of 0.25 stored to biomass and uptake phosphate to form new biomass; the yield is 0.4 which means 0.25*0.4= 0.1g of biomass will be formed. The total of 2.5g biomass of polyphosphate + 0.1 g of new polyphosphate biomass formed= 2.6 g of polyphosphate = (2.6*24)/100=0.624 g P

- The normal bacteria metabolize the remaining of 0.75 g of slow COD into new biomass and the new biomass formed = 0.75*0.4=0.3, the biomass for new bacteria becomes: 0.3+7.5=7.8g = (7.8*2)/100=0.156 g P

- Thus there is a total of (2.6+7.8) g of biomass containing (0.156+0.624)g of P= 10.4 g biomass containing 0.780g of phosphorus. The average biomass contains (0.78/10.7)*100= 7.5% P

- In the starting we had  0.15 g of phosphorus on normal bacteria and 0.6g in polyphosphate bacteria  =0.750g P and at the end we have 0.780g of P, means uptake of 0.03 g of phosphorus for 1 g of bCOD. This net uptake of phosphorus on a net basis is because the new cells take up phosphorus too and excess sludge is being removed.

- The bCOD/P ratio must optimally be 1/0.03=33 in case the RBCOD is about 1/3 of the bCOD. In practice a minimum of 25 mg/l of RBCOD is needed to induce excess P removal.

- provided proper conditions , P removal can be approximated as follows:

|  | Raw | Settled |
| --- | --- | --- |
| Influent COD | 600 | 360 |
| Influent TKN | 48 | 41 |
| Influent P | 10 | 8.5 |
| bCOD | 600*0.8 | 360*0.9= 324 |
| RBCOD |  | 324*1/3=108 |
| Sludge produced |  | 324*0.4=129 mg /l |
| Normal P immobilized |  | 129*0.02=2.5, Residual level of 7.5 mg/l |
| UCT P immobilized |  | 129*0.07=9 mg/l, residual level of 1 mg/l |