## Slide 1
Why removing nutrients from sewage?
NH3 – toxicity
Oxygen depletion (ammonium oxidation)
Eutrophication Algal blooms (P & N)
  Toxic algae
  Dead biomass  Oxygen depletion
  pH increase
  Smell
Nitrate  blue baby syndrome

## Slide 2: 1. N-removal

## Slide 5
NH4+ (-III)
NO2- (+III)
NO3- (+V)
N2 (0)
NO2- (+III)
NO (+II)
N2O (+I)
O2
O2
COD, ..
COD, ..
COD, ..
COD, ..
Nitrification
Denitrification
N-org
Hydrolysis
(NH2OH)

## Slide 6
- III + III
6 e-
+ III + V
8 e-
2 e-
- III + V
AOB
(AOA)
NOB
Nitrification
‘nitritation’
‘nitratation’

## Slide 7
Nitrification: autotrophic
NH4+
NO3-
New biomass (CH1.4O0.5N0.2)
HCO3-
95%
5%
4.57 mg O2/mg N  4.33 mg O2/N
heterotrophs nitrifiers

## Slide 8
Nitrification: oxygen demand
COD * Fb * YCOD * 0.05

## Slide 9
Nitrification: inhibition
pH !

## Slide 10: question
NH4+ (-III)
NO2- (+III)
NO3- (+V)
N2 (0)
NO2- (+III)
NO (+II)
N2O (+I)
O2
O2
COD, ..
COD, ..
COD, ..
COD, ..
Nitrification
Denitrification
N-org
Hydrolysis
(NH2OH)

## Slide 11
NH4+ (-III)
NO2- (+III)
NO3- (+V)
N2 (0)
NO2- (+III)
NO (+II)
N2O (+I)
O2
O2
COD, ..
COD, ..
COD, ..
COD, ..
Nitrification
Denitrification
N-org
Hydrolysis
(NH2OH)

## Slide 12
Aerobic (O2)
Anoxic (NO3- ; no O2)
Anaerobic (no NO3- ; no O2)
Denitrification in a WWTP:
facultative aerobic bacteria

## Slide 13
COD
O2
NO3-
2 ways of COD oxidation:
e-
e-
- 2700 kJ/mol C
- 2880 kJ/mol C
Denitrification (5 mol e- / mol N)
+ V 0

## Slide 14
COD
(Organic compounds + O2  CO2 + H2O)
NOD
(NH4+ + O2 NO3-)
NOE
(Organic compound + NO3-  N2)
14 g N/mol N
5 mol e-/mol N
4 mol e-/mol COD
32 g COD/mol COD
= 20/7 g NOE per 1 g NO3--N
NOE = how much COD is needed to denitrify the nitrate (or nitrite)?

## Slide 15
A
COD + O2 CO2
NH4+ + O2  NO3-
CODextra + NO3- N2

## Slide 16
Recycle ratio: R = (QR + QR’) / Q
B

## Slide 17
B
1 NH4+  1 NH4+
0.5 NO3- 0.25 N2
1 NH4+  1 NO3-
Q (1)
1 NH4+
QR + QR’ (1)
Q+QR+QR’ (2)
Recycle ratio: R = (QR + QR’) / Q = 1
Q (1)
0.5 NO3-
0.5 NO3-
O2
nitrification
denitrification

## Slide 18
B
1 NH4+  1 NH4+
0.8 NO3- 0.4 N2
1 NH4+  1 NO3-
Q (1)
1 NH4+
QR + QR’ (4)
Q+QR+QR’ (5)
Recycle ratio: R = (QR + QR’) / Q = 4
Q (1)
0.8 NO3-
0.2 NO3-
O2
nitrification
denitrification

## Slide 19
C
1/3 NH4+
1/3 NO3-
1/6 NO3-
1/6 NO3-

## Slide 20
D
aeration
(nitrification)
no aeration
(denitrification)
NH4+
NO3-

## Slide 21: question

## Slide 22
NH4+ (-III)
NO2- (+III)
NO3- (+IV)
N2 (0)
NO2- (+III)
NO (+II)
N2O (+I)
O2
O2
COD, ..
COD, ..
COD, ..
COD, ..
Nitrification
Denitrification
N-org
Hydrolysis
(NH2OH)
‘Anaerobic ammonia oxidation’ (Anammox)
50%
50%

## Slide 23
NH4+ + O2  NO2-
NH4+ + NO2-  N2
SHARON
ANAMMOX
2NH4+ + O2  N2
CANON, OLAND, …

## Slide 24
Nitritation (NH4+ + O2  NO2-) Denitrification (NO3-  N2)
Nitration (NO2- + O2 NO3-) Anammox (NH4+ + NO2-  N2)

## Slide 26
NH4+ (-III)
NO2- (+III)
NO3- (+V)
N2 (0)
NO2- (+III)
NO (+II)
N2O (+I)
O2
O2
COD, ..
COD, ..
COD, ..
COD, ..
Nitrification
Denitrification
N-org
Hydrolysis
(NH2OH)

## Slide 27: break

## Slide 28: 2. P-removal

## Slide 30
P-removal
Precipitation of P
Biological P removal

## Slide 31
No O2 !
No NO3- !

## Slide 33
1 g bCOD
0.75 g slow COD
0.25 g VFA COD
2.5 g CDW PAO + 7.5 g CDW other
(0.6 g P ; 24% P) (0.15 g P ; 2% P)
10 g CDW microbial biomass:
2.5 g CDW PAO 7.5 g CDW other +0.25 VFA CODsorbed
(0.475 g P) (0.15 g P)
2.5 + 0.1 g CDW PAO 7.5 + 0.3 g CDW other
(0.624 g P ; 24% P) (0.156 g P ; 2 % P)
0.030 g P
0.125 g P excreted
+ 0.030 g P 0.75 g slow COD
anae rob i c
O2
0.4 g CDW
0.030 g P
Wastewater

## Slide 34: question

## Slide 35
Biological P-removal
COD oxidation
No nitrification
No denitrification

## Slide 36
Biological P-removal
COD oxidation
Nitrification
Denitrification
NO3-
Sludge + some NO3-

## Slide 37
Biological P-removal
COD oxidation
Nitrification
Denitrification
NO3-
Sludge
No NO3-
Sludge + some NO3-

## Slide 39
Biological release of P in anaerobic stabilizer
Precipitation of P

## Slide 40
SBR

## Slide 41: No lecture tomorrow!
Next week 7/10